## Sheet1
S.No | Module | Requirement
1 | GP & Block Router Availability | Display real-time UP/DOWN status for all GPs and Block Routers. Show Total Uptime, Total Downtime, Availability (%), Last Up Time, Last Down Time, and 7-day/30-day availability trends.
2 | Equipment Details | Display complete equipment inventory, including Equipment Name, Model, Vendor, Serial Number, IP Address, Added (Onboarded) Date & Time, Last Updated Date & Time, Firmware/Software Version, and Current Status.
3 | UPS Monitoring | Display UPS Make, Model, Serial Number, Input Voltage, Output Voltage, Battery Voltage, Battery Backup Time, Battery Health, Load (%), Power Status, and Last Updated Time.
4 | Top Critical Alerts | Display the top critical alerts for all monitored devices (Block Routers, GPs, UPS, RFMS, Switches, etc.) with Alert Name, Severity, Device Name, IP Address, Block, Occurrence Time, Duration, and Current Status.
5 | RFMS Equipment Details | Display RFMS equipment details, including Equipment Name, Serial Number, Location, Added (Onboarded) Date & Time, Last Updated Date & Time, Current Status, and Health Status.
6 | RFMS Fiber Cut Monitoring | Display active and historical fiber cut information as shown in the reference dashboard, including Fiber Route, Block, District, Location, Affected GPs, Incident Start Time, Restoration Time, Duration, Current Status, and Root Cause.
7 | Data Export | Provide an Export option on every dashboard page to download the displayed data in Excel (.xlsx), CSV, and PDF formats. The exported data should respect the applied filters and include all visible columns.
8 | Executive Dashboard | Display summary counts on the Executive Dashboard. When a user clicks on any count, redirect to the corresponding detailed page with the relevant filtered data.
9 | RFMS & Fiber Cut Pages | Resolve the error message currently displayed on the RFMS and Fiber Cut Details pages.
10 | Search Functionality | Provide a search option on every page. The search should support filtering by West Bengal (WB) and Andaman (AN), along with other relevant records.
11 | Common Filters | Provide hierarchical filters on every page for State → District → Block → GP → LGD Code to enable easy data bifurcation and filtering.
12 | Dashboard Consistency | Ensure all dashboard pages have a consistent layout, common filters, search functionality, export options, and drill-down navigation for a better user experience.
Still issues
1 | Alrams | For alarms we need only one section where we need filter option 1. for active & history, 2. Critical & Etc
2 | Top critical Alarms | Required a time Stamp filter also device,location wise so we can find the device down status for a period of time for individual cases
3 | Equipment invertory & White list registry | Not required as we alredy have that in HFCL EMS
4 | Best & Worst perfroming devices | Need a dashboard where we can fild the worst & best performing devices so we can identify which devices required attention (here data should be based on device uptime & physical condition)
5 | Filters | Filters option is OK but currenly the data is not correct as per the devices we have in the field & EMSs/ required device wise filters also inplace of individual tabs for each devices, currently unable to find the blocks of GP details in the filter option
Need time stamps also for some tabs like host availablity, sevice history
6 | Dashboard | Required a dashboard where we can find the current total device list for (HFCL, Rack, RFMS) where the count is mentioned properly for the each down & Up status wise
7 | Filters | Filters option is OK but currenly the data is not correct as per the devices we have in the field & EMSs/ required device wise filters also inplace of individual tabs for each devices
8 | Availablity | If we download the excel report unable get the data in the excel for the vailablit y & device remarks for the downtime
9 | DATA | Data is not correct for all the devices (Gridsense is currently not fetching the data for the devices which need to be opinized)
10 | UPS Monitoring | Data is not fetching for UPS data
11 | Manifold NMS | Data is not correct in this part
12 | RFMS | Data is not fetching correctly in this part
13 | Searching | Unable to search via Name, LGD code, IP, Hostname wise
14 | Hyperlinking | Need an option all over the Gridsense regarding hyperlinking, like I filter any data in the dashboard if I click on that number I'll get the whole data available under that section & I can view the same in the Gridsense also & export the same in the excel too
15 | Data Export | For this we can download the excel but the data in that excel is not providing the all the data regarding the information want to extract, if I filtering avalablity data or sevice data I need that data in the sheet but currenly getting the white list of HFCL ems